## data_samples_summary
Sample | Dilution | meanAbs | SD_Abs | CV_Abs | conc_µg_per_µl | comment
1mg_ml_BSA__1 | 40 | 0.7405 | 0.0077782 | 0.010504 | 0.99224 | OK
1mg_ml_BSA__2 | 40 | 0.7135 | 0.006364 | 0.0089194 | 0.94809 | OK
1mg_ml_BSA__3 | 40 | 0.71 | 0.0028284 | 0.0039837 | 0.94236 | OK
1mg_ml_BSA__4 | 40 | 0.7195 | 0.0035355 | 0.0049139 | 0.9579 | OK
1mg_ml_BSA__5 | 40 | 0.688 | 0 | 0 | 0.90634 | OK
1mg_ml_BSA__6 | 40 | 0.704 | 0.016971 | 0.024106 | 0.93254 | OK
1mg_ml_BSA__7 | 40 | 0.6975 | 0.0021213 | 0.0030413 | 0.9219 | OK
1mg_ml_BSA__8 | 40 | 0.7075 | 0.028991 | 0.040977 | 0.93827 | OK
1mg_ml_BSA__9 | 40 | 0.7265 | 0.023335 | 0.032119 | 0.96935 | OK
1mg_ml_BSA__10 | 40 | 0.749 | 0.028284 | 0.037763 | 1.0061 | OK
1mg_ml_BSA__11 | 40 | 0.7755 | 0.044548 | 0.057444 | 1.0494 | OK
1mg_ml_BSA__12 | 40 | 0.7815 | 0.034648 | 0.044336 | 1.0592 | OK
1mg_ml_BSA__13 | 40 | 0.787 | 0.055154 | 0.070082 | 1.0682 | OK
1mg_ml_BSA__14 | 40 | 0.787 | 0.046669 | 0.0593 | 1.0682 | OK
1mg_ml_BSA__15 | 40 | 0.7785 | 0.019092 | 0.024524 | 1.0543 | OK
1mg_ml_BSA__16 | 40 | 0.718 | 0.016971 | 0.023636 | 0.95545 | OK
1mg_ml_BSA__17 | 40 | 0.6615 | 0.044548 | 0.067344 | 0.8629 | OK
1mg_ml_BSA__18 | 40 | 0.7735 | 0.0077782 | 0.010056 | 1.0461 | OK
1mg_ml_BSA__19 | 40 | 0.795 | 0.014142 | 0.017789 | 1.0812 | OK
1mg_ml_BSA__20 | 40 | 0.7695 | 0.0021213 | 0.0027568 | 1.0396 | OK
1mg_ml_BSA__21 | 40 | 0.817 | 0.052326 | 0.064046 | 1.1171 | OK
1mg_ml_BSA__22 | 40 | 0.8075 | 0.02192 | 0.027146 | 1.1016 | OK
1mg_ml_BSA__23 | 40 | 0.792 | 0 | 0 | 1.0763 | OK
1mg_ml_BSA__24 | 40 | 0.7115 | 0.027577 | 0.038759 | 0.94481 | OK
1mg_ml_BSA__25 | 40 | 0.666 | 0.035355 | 0.053086 | 0.87028 | OK
1mg_ml_BSA__26 | 40 | 0.7935 | 0.027577 | 0.034754 | 1.0788 | OK
1mg_ml_BSA__27 | 40 | 0.819 | 0.046669 | 0.056983 | 1.1204 | OK
1mg_ml_BSA__28 | 40 | 0.8215 | 0.027577 | 0.033569 | 1.1245 | OK
1mg_ml_BSA__29 | 40 | 0.7945 | 0.020506 | 0.02581 | 1.0804 | OK
1mg_ml_BSA__30 | 40 | 0.7905 | 0.038891 | 0.049198 | 1.0739 | OK
1mg_ml_BSA__31 | 40 | 0.8035 | 0.027577 | 0.034321 | 1.0951 | OK
1mg_ml_BSA__32 | 40 | 0.7325 | 0.047376 | 0.064677 | 0.97916 | OK
1mg_ml_BSA__33 | 40 | 0.688 | 0.052326 | 0.076055 | 0.90634 | OK
1mg_ml_BSA__34 | 40 | 0.8225 | 0.00070711 | 0.0008597 | 1.1261 | OK
1mg_ml_BSA__35 | 40 | 0.72 | 0.029698 | 0.041248 | 0.95872 | OK
1mg_ml_BSA__36 | 40 | 0.6935 | 0.070004 | 0.10094 | 0.91534 | OK
1mg_ml_BSA__37 | 40 | 0.747 | 0.032527 | 0.043543 | 1.0029 | OK
1mg_ml_BSA__38 | 40 | 0.7755 | 0.0035355 | 0.004559 | 1.0494 | OK
1mg_ml_BSA__39 | 40 | 0.7945 | 0.012021 | 0.01513 | 1.0804 | OK
1mg_ml_BSA__40 | 40 | 0.8085 | 0.034648 | 0.042855 | 1.1033 | OK

## standard_tidy_summary
conc_mg_per_ml | Plate Number | meanAbs | SD_Abs | CV_Abs
0 | Plate 1 | 0.137 | 0 | 0
0.01 | Plate 1 | 0.3895 | 0.0049497 | 0.012708
0.02 | Plate 1 | 0.6245 | 0.028991 | 0.046423
0.04 | Plate 1 | 1.1125 | 0.017678 | 0.01589
0.06 | Plate 1 | 1.6475 | 0.02192 | 0.013305
0.08 | Plate 1 | 2 | 0.019799 | 0.0098995
0.12 | Plate 1 | 2.701 | 0.10041 | 0.037175
0.16 | Plate 1 | 3.3845 | 0.026163 | 0.0077302

## standard_tidy
Plate Number | Well | 562 | conc_mg_per_ml
Plate 1 | H1 | 0.137 | 0
Plate 1 | H2 | 0.137 | 0
Plate 1 | G1 | 0.393 | 0.01
Plate 1 | G2 | 0.386 | 0.01
Plate 1 | F1 | 0.645 | 0.02
Plate 1 | F2 | 0.604 | 0.02
Plate 1 | E1 | 1.125 | 0.04
Plate 1 | E2 | 1.1 | 0.04
Plate 1 | D1 | 1.663 | 0.06
Plate 1 | D2 | 1.632 | 0.06
Plate 1 | C1 | 1.986 | 0.08
Plate 1 | C2 | 2.014 | 0.08
Plate 1 | B1 | 2.772 | 0.12
Plate 1 | B2 | 2.63 | 0.12
Plate 1 | A1 | 3.403 | 0.16
Plate 1 | A2 | 3.366 | 0.16

## fit_quality
Plate Number | std_err__loess | Rsquared__linear
Plate 1 | 0.0021608 | 0.99058

## residuals_tidy
Plate Number | conc_mg_per_ml | Abs | .fitted | .resid | z_score | z_score_outlier
Plate 1 | 0 | 0.137 | -0.00018395 | 0.00018395 | 0.065941 | FALSE
Plate 1 | 0 | 0.137 | -0.00018395 | 0.00018395 | 0.065941 | FALSE
Plate 1 | 0.16 | 3.403 | 0.16121 | -0.0012112 | -0.71103 | FALSE
Plate 1 | 0.16 | 3.366 | 0.15893 | 0.0010738 | 0.56148 | FALSE
Plate 1 | 0.12 | 2.772 | 0.12309 | -0.0030877 | -1.756 | FALSE
Plate 1 | 0.12 | 2.63 | 0.11479 | 0.0052117 | 2.8659 | FALSE
Plate 1 | 0.08 | 1.986 | 0.07842 | 0.0015805 | 0.84367 | FALSE
Plate 1 | 0.08 | 2.014 | 0.07993 | 6.9566e-05 | 0.0022423 | FALSE
Plate 1 | 0.06 | 1.663 | 0.062042 | -0.0020425 | -1.1739 | FALSE
Plate 1 | 0.06 | 1.632 | 0.060506 | -0.00050641 | -0.31852 | FALSE
Plate 1 | 0.04 | 1.125 | 0.040213 | -0.00021257 | -0.15488 | FALSE
Plate 1 | 0.04 | 1.1 | 0.039393 | 0.00060687 | 0.30146 | FALSE
Plate 1 | 0.02 | 0.645 | 0.020896 | -0.0008956 | -0.53525 | FALSE
Plate 1 | 0.02 | 0.604 | 0.019211 | 0.00078861 | 0.40267 | FALSE
Plate 1 | 0.01 | 0.393 | 0.010492 | -0.00049245 | -0.31074 | FALSE
Plate 1 | 0.01 | 0.386 | 0.010202 | -0.00020178 | -0.14887 | FALSE

## data_samples
Sample | Well | Dilution | Replicate | Plate Number | Abs | tech_Abs_CV
1mg_ml_BSA__1 | A3 | 40 | 1 | Plate 1 | 0.746
1mg_ml_BSA__1 | A4 | 40 | 2 | Plate 1 | 0.735
1mg_ml_BSA__2 | B3 | 40 | 1 | Plate 1 | 0.718
1mg_ml_BSA__2 | B4 | 40 | 2 | Plate 1 | 0.709
1mg_ml_BSA__3 | C3 | 40 | 1 | Plate 1 | 0.712
1mg_ml_BSA__3 | C4 | 40 | 2 | Plate 1 | 0.708
1mg_ml_BSA__4 | D3 | 40 | 1 | Plate 1 | 0.722
1mg_ml_BSA__4 | D4 | 40 | 2 | Plate 1 | 0.717
1mg_ml_BSA__5 | E3 | 40 | 1 | Plate 1 | 0.688
1mg_ml_BSA__5 | E4 | 40 | 2 | Plate 1 | 0.688
1mg_ml_BSA__6 | F3 | 40 | 1 | Plate 1 | 0.716
1mg_ml_BSA__6 | F4 | 40 | 2 | Plate 1 | 0.692
1mg_ml_BSA__7 | G3 | 40 | 1 | Plate 1 | 0.699
1mg_ml_BSA__7 | G4 | 40 | 2 | Plate 1 | 0.696
1mg_ml_BSA__8 | H3 | 40 | 1 | Plate 1 | 0.728
1mg_ml_BSA__8 | H4 | 40 | 2 | Plate 1 | 0.687
1mg_ml_BSA__9 | A5 | 40 | 1 | Plate 1 | 0.743
1mg_ml_BSA__9 | A6 | 40 | 2 | Plate 1 | 0.71
1mg_ml_BSA__10 | B5 | 40 | 1 | Plate 1 | 0.729
1mg_ml_BSA__10 | B6 | 40 | 2 | Plate 1 | 0.769
1mg_ml_BSA__11 | C5 | 40 | 1 | Plate 1 | 0.744
1mg_ml_BSA__11 | C6 | 40 | 2 | Plate 1 | 0.807
1mg_ml_BSA__12 | D5 | 40 | 1 | Plate 1 | 0.757
1mg_ml_BSA__12 | D6 | 40 | 2 | Plate 1 | 0.806
1mg_ml_BSA__13 | E5 | 40 | 1 | Plate 1 | 0.748
1mg_ml_BSA__13 | E6 | 40 | 2 | Plate 1 | 0.826
1mg_ml_BSA__14 | F5 | 40 | 1 | Plate 1 | 0.754
1mg_ml_BSA__14 | F6 | 40 | 2 | Plate 1 | 0.82
1mg_ml_BSA__15 | G5 | 40 | 1 | Plate 1 | 0.765
1mg_ml_BSA__15 | G6 | 40 | 2 | Plate 1 | 0.792
1mg_ml_BSA__16 | H5 | 40 | 1 | Plate 1 | 0.73
1mg_ml_BSA__16 | H6 | 40 | 2 | Plate 1 | 0.706
1mg_ml_BSA__17 | A7 | 40 | 1 | Plate 1 | 0.693
1mg_ml_BSA__17 | A8 | 40 | 2 | Plate 1 | 0.63
1mg_ml_BSA__18 | B7 | 40 | 1 | Plate 1 | 0.779
1mg_ml_BSA__18 | B8 | 40 | 2 | Plate 1 | 0.768
1mg_ml_BSA__19 | C7 | 40 | 1 | Plate 1 | 0.785
1mg_ml_BSA__19 | C8 | 40 | 2 | Plate 1 | 0.805
1mg_ml_BSA__20 | D7 | 40 | 1 | Plate 1 | 0.768
1mg_ml_BSA__20 | D8 | 40 | 2 | Plate 1 | 0.771
1mg_ml_BSA__21 | E7 | 40 | 1 | Plate 1 | 0.78
1mg_ml_BSA__21 | E8 | 40 | 2 | Plate 1 | 0.854
1mg_ml_BSA__22 | F7 | 40 | 1 | Plate 1 | 0.792
1mg_ml_BSA__22 | F8 | 40 | 2 | Plate 1 | 0.823
1mg_ml_BSA__23 | G7 | 40 | 1 | Plate 1 | 0.792
1mg_ml_BSA__23 | G8 | 40 | 2 | Plate 1 | 0.792
1mg_ml_BSA__24 | H7 | 40 | 1 | Plate 1 | 0.731
1mg_ml_BSA__24 | H8 | 40 | 2 | Plate 1 | 0.692
1mg_ml_BSA__25 | A10 | 40 | 2 | Plate 1 | 0.641
1mg_ml_BSA__25 | A9 | 40 | 1 | Plate 1 | 0.691
1mg_ml_BSA__26 | B10 | 40 | 2 | Plate 1 | 0.813
1mg_ml_BSA__26 | B9 | 40 | 1 | Plate 1 | 0.774
1mg_ml_BSA__27 | C10 | 40 | 2 | Plate 1 | 0.852
1mg_ml_BSA__27 | C9 | 40 | 1 | Plate 1 | 0.786
1mg_ml_BSA__28 | D10 | 40 | 2 | Plate 1 | 0.841
1mg_ml_BSA__28 | D9 | 40 | 1 | Plate 1 | 0.802
1mg_ml_BSA__29 | E10 | 40 | 2 | Plate 1 | 0.809
1mg_ml_BSA__29 | E9 | 40 | 1 | Plate 1 | 0.78
1mg_ml_BSA__30 | F10 | 40 | 2 | Plate 1 | 0.818
1mg_ml_BSA__30 | F9 | 40 | 1 | Plate 1 | 0.763
1mg_ml_BSA__31 | G10 | 40 | 2 | Plate 1 | 0.823
1mg_ml_BSA__31 | G9 | 40 | 1 | Plate 1 | 0.784
1mg_ml_BSA__32 | H10 | 40 | 2 | Plate 1 | 0.699
1mg_ml_BSA__32 | H9 | 40 | 1 | Plate 1 | 0.766
1mg_ml_BSA__33 | A11 | 40 | 1 | Plate 1 | 0.725
1mg_ml_BSA__33 | A12 | 40 | 2 | Plate 1 | 0.651
1mg_ml_BSA__34 | B11 | 40 | 1 | Plate 1 | 0.823
1mg_ml_BSA__34 | B12 | 40 | 2 | Plate 1 | 0.822
1mg_ml_BSA__35 | C11 | 40 | 1 | Plate 1 | 0.741
1mg_ml_BSA__35 | C12 | 40 | 2 | Plate 1 | 0.699
1mg_ml_BSA__36 | D11 | 40 | 1 | Plate 1 | 0.743
1mg_ml_BSA__36 | D12 | 40 | 2 | Plate 1 | 0.644
1mg_ml_BSA__37 | E11 | 40 | 1 | Plate 1 | 0.77
1mg_ml_BSA__37 | E12 | 40 | 2 | Plate 1 | 0.724
1mg_ml_BSA__38 | F11 | 40 | 1 | Plate 1 | 0.778
1mg_ml_BSA__38 | F12 | 40 | 2 | Plate 1 | 0.773
1mg_ml_BSA__39 | G11 | 40 | 1 | Plate 1 | 0.786
1mg_ml_BSA__39 | G12 | 40 | 2 | Plate 1 | 0.803
1mg_ml_BSA__40 | H11 | 40 | 1 | Plate 1 | 0.784
1mg_ml_BSA__40 | H12 | 40 | 2 | Plate 1 | 0.833

## data_samples_summary_detailed
Sample | Dilution | Plate Number | meanAbs | SD_Abs | CV_Abs | dilution_factor | conc_µg_per_µl_wo_dil_factor | conc_µg_per_µl | outside_standard_curve | outside_standard_curve_percentage | comment | conc_µg_per_µl_wo_dil_factor_LINEAR_fit | conc_µg_per_µl_LINEAR_fit
1mg_ml_BSA__1 | 40 | Plate 1 | 0.7405 | 0.0077782 | 0.010504 | 40 | 0.024806 | 0.99224 | FALSE | 0 | OK | 0.024392 | 0.97568
1mg_ml_BSA__2 | 40 | Plate 1 | 0.7135 | 0.006364 | 0.0089194 | 40 | 0.023702 | 0.94809 | FALSE | 0 | OK | 0.023081 | 0.92324
1mg_ml_BSA__3 | 40 | Plate 1 | 0.71 | 0.0028284 | 0.0039837 | 40 | 0.023559 | 0.94236 | FALSE | 0 | OK | 0.022911 | 0.91644
1mg_ml_BSA__4 | 40 | Plate 1 | 0.7195 | 0.0035355 | 0.0049139 | 40 | 0.023948 | 0.9579 | FALSE | 0 | OK | 0.023372 | 0.93489
1mg_ml_BSA__5 | 40 | Plate 1 | 0.688 | 0 | 0 | 40 | 0.022658 | 0.90634 | FALSE | 0 | OK | 0.021843 | 0.87371
1mg_ml_BSA__6 | 40 | Plate 1 | 0.704 | 0.016971 | 0.024106 | 40 | 0.023313 | 0.93254 | FALSE | 0 | OK | 0.02262 | 0.90479
1mg_ml_BSA__7 | 40 | Plate 1 | 0.6975 | 0.0021213 | 0.0030413 | 40 | 0.023047 | 0.9219 | FALSE | 0 | OK | 0.022304 | 0.89216
1mg_ml_BSA__8 | 40 | Plate 1 | 0.7075 | 0.028991 | 0.040977 | 40 | 0.023457 | 0.93827 | FALSE | 0 | OK | 0.02279 | 0.91158
1mg_ml_BSA__9 | 40 | Plate 1 | 0.7265 | 0.023335 | 0.032119 | 40 | 0.024234 | 0.96935 | FALSE | 0 | OK | 0.023712 | 0.94849
1mg_ml_BSA__10 | 40 | Plate 1 | 0.749 | 0.028284 | 0.037763 | 40 | 0.025153 | 1.0061 | FALSE | 0 | OK | 0.024805 | 0.99219
1mg_ml_BSA__11 | 40 | Plate 1 | 0.7755 | 0.044548 | 0.057444 | 40 | 0.026235 | 1.0494 | FALSE | 0 | OK | 0.026091 | 1.0437
1mg_ml_BSA__12 | 40 | Plate 1 | 0.7815 | 0.034648 | 0.044336 | 40 | 0.02648 | 1.0592 | FALSE | 0 | OK | 0.026383 | 1.0553
1mg_ml_BSA__13 | 40 | Plate 1 | 0.787 | 0.055154 | 0.070082 | 40 | 0.026705 | 1.0682 | FALSE | 0 | OK | 0.02665 | 1.066
1mg_ml_BSA__14 | 40 | Plate 1 | 0.787 | 0.046669 | 0.0593 | 40 | 0.026705 | 1.0682 | FALSE | 0 | OK | 0.02665 | 1.066
1mg_ml_BSA__15 | 40 | Plate 1 | 0.7785 | 0.019092 | 0.024524 | 40 | 0.026358 | 1.0543 | FALSE | 0 | OK | 0.026237 | 1.0495
1mg_ml_BSA__16 | 40 | Plate 1 | 0.718 | 0.016971 | 0.023636 | 40 | 0.023886 | 0.95545 | FALSE | 0 | OK | 0.023299 | 0.93198
1mg_ml_BSA__17 | 40 | Plate 1 | 0.6615 | 0.044548 | 0.067344 | 40 | 0.021572 | 0.8629 | FALSE | 0 | OK | 0.020556 | 0.82224
1mg_ml_BSA__18 | 40 | Plate 1 | 0.7735 | 0.0077782 | 0.010056 | 40 | 0.026154 | 1.0461 | FALSE | 0 | OK | 0.025994 | 1.0398
1mg_ml_BSA__19 | 40 | Plate 1 | 0.795 | 0.014142 | 0.017789 | 40 | 0.027031 | 1.0812 | FALSE | 0 | OK | 0.027038 | 1.0815
1mg_ml_BSA__20 | 40 | Plate 1 | 0.7695 | 0.0021213 | 0.0027568 | 40 | 0.02599 | 1.0396 | FALSE | 0 | OK | 0.0258 | 1.032
1mg_ml_BSA__21 | 40 | Plate 1 | 0.817 | 0.052326 | 0.064046 | 40 | 0.027928 | 1.1171 | FALSE | 0 | OK | 0.028107 | 1.1243
1mg_ml_BSA__22 | 40 | Plate 1 | 0.8075 | 0.02192 | 0.027146 | 40 | 0.027541 | 1.1016 | FALSE | 0 | OK | 0.027645 | 1.1058
1mg_ml_BSA__23 | 40 | Plate 1 | 0.792 | 0 | 0 | 40 | 0.026909 | 1.0763 | FALSE | 0 | OK | 0.026893 | 1.0757
1mg_ml_BSA__24 | 40 | Plate 1 | 0.7115 | 0.027577 | 0.038759 | 40 | 0.02362 | 0.94481 | FALSE | 0 | OK | 0.022984 | 0.91935
1mg_ml_BSA__25 | 40 | Plate 1 | 0.666 | 0.035355 | 0.053086 | 40 | 0.021757 | 0.87028 | FALSE | 0 | OK | 0.020774 | 0.83098
1mg_ml_BSA__26 | 40 | Plate 1 | 0.7935 | 0.027577 | 0.034754 | 40 | 0.02697 | 1.0788 | FALSE | 0 | OK | 0.026966 | 1.0786
1mg_ml_BSA__27 | 40 | Plate 1 | 0.819 | 0.046669 | 0.056983 | 40 | 0.02801 | 1.1204 | FALSE | 0 | OK | 0.028204 | 1.1281
1mg_ml_BSA__28 | 40 | Plate 1 | 0.8215 | 0.027577 | 0.033569 | 40 | 0.028112 | 1.1245 | FALSE | 0 | OK | 0.028325 | 1.133
1mg_ml_BSA__29 | 40 | Plate 1 | 0.7945 | 0.020506 | 0.02581 | 40 | 0.027011 | 1.0804 | FALSE | 0 | OK | 0.027014 | 1.0806
1mg_ml_BSA__30 | 40 | Plate 1 | 0.7905 | 0.038891 | 0.049198 | 40 | 0.026847 | 1.0739 | FALSE | 0 | OK | 0.02682 | 1.0728
1mg_ml_BSA__31 | 40 | Plate 1 | 0.8035 | 0.027577 | 0.034321 | 40 | 0.027378 | 1.0951 | FALSE | 0 | OK | 0.027451 | 1.098
1mg_ml_BSA__32 | 40 | Plate 1 | 0.7325 | 0.047376 | 0.064677 | 40 | 0.024479 | 0.97916 | FALSE | 0 | OK | 0.024004 | 0.96014
1mg_ml_BSA__33 | 40 | Plate 1 | 0.688 | 0.052326 | 0.076055 | 40 | 0.022658 | 0.90634 | FALSE | 0 | OK | 0.021843 | 0.87371
1mg_ml_BSA__34 | 40 | Plate 1 | 0.8225 | 0.00070711 | 0.0008597 | 40 | 0.028153 | 1.1261 | FALSE | 0 | OK | 0.028374 | 1.1349
1mg_ml_BSA__35 | 40 | Plate 1 | 0.72 | 0.029698 | 0.041248 | 40 | 0.023968 | 0.95872 | FALSE | 0 | OK | 0.023397 | 0.93586
1mg_ml_BSA__36 | 40 | Plate 1 | 0.6935 | 0.070004 | 0.10094 | 40 | 0.022884 | 0.91534 | FALSE | 0 | OK | 0.02211 | 0.88439
1mg_ml_BSA__37 | 40 | Plate 1 | 0.747 | 0.032527 | 0.043543 | 40 | 0.025072 | 1.0029 | FALSE | 0 | OK | 0.024708 | 0.9883
1mg_ml_BSA__38 | 40 | Plate 1 | 0.7755 | 0.0035355 | 0.004559 | 40 | 0.026235 | 1.0494 | FALSE | 0 | OK | 0.026091 | 1.0437
1mg_ml_BSA__39 | 40 | Plate 1 | 0.7945 | 0.012021 | 0.01513 | 40 | 0.027011 | 1.0804 | FALSE | 0 | OK | 0.027014 | 1.0806
1mg_ml_BSA__40 | 40 | Plate 1 | 0.8085 | 0.034648 | 0.042855 | 40 | 0.027582 | 1.1033 | FALSE | 0 | OK | 0.027694 | 1.1078